eDNA Water Filtering and Filter Extraction Protocol – Based on Goldberg et al. 2011 and personal correspondence with Goldberg

Modified from Goldberg, C. S., Pilliod, D. S., Arkle, R. S., & Waits, L. P. (2011). Molecular detection of vertebrates in stream water: a demonstration using Rocky Mountain tailed frogs and Idaho giant salamanders. PloS one, 6(7), e22746.

# DNeasy Blood & Tissue Kit – Quiagen (#69504) $155 for 100 samples

Water Collection Instructions

- Collect samples in 3.8 liter high density polyethylene containers that previously contained distilled water (1 gallon distilled water jugs).

- After emptying distilled water half way fill and thoroughly rinse containers four times with stream water.

- Open container and hold as close to the bottom as possible in the middle of the stream to fill, cap under water. Wear new gloves were at each sample collection.

- Place on ice until and process or freeze within 24 hours.

Washing Instructions

Protocol for cleaning filter apparatus before and between samples

- Wash with dish soap and brush

- Rinse with warm/hot tap water

- Dip in 30% bleach solution (diluted from store bought bleach) for a few seconds

- Repeat two more times (three times total)

- Rinse with distilled water

Protocol for cleaning forceps and scissors

- Wash with soap

- Dip in ethanol

- Use flame to burn that off and heat for perhaps 20 seconds

- Rinse (partially to cool) in distilled water from tap, should observe a hiss as it cools

Filtering protocol

Filter apparatus – 47 mm magnetic filter from VWR (#4242) - $221

Filters - 100 4.7 cm fine particle filters from VWR (#09-873DD) $52

NOTE - DON’T CONTAMINATE, IT IS VERY DIFFICULT NOT DO SO, SO… follow the above washing protocols and switch gloves frequently.

- Pour water into assembled filter apparatus with the suction already turned on, monitor volume in graduated flask below.  Pour 250 ml at a time until desired volume has been filtered.

- Turn off suction

- Remove filter from filter apparatus with just flamed forceps (see above) and place on super clean wax weigh paper

- Place in hood until completely dry (should take 10-15 minutes)

- Cut filter in half

- Store ½ in 100% ethanol in a 1.5 ml tube and label with sample name, date, and “storage”

- Cut other half into at least 10-12 pieces

- Place in a 1.5 ml centrifuge tube and add 360 ul ATL and 40 ul ProK

- Vortex the heck out of it

- Incubate at 56oC overnight (can be a little below this but must not be above as it will denature the enzyme). DON’T FORGET TO PARAFILM THE TUBE, it will evaporate overnight.

- Go to step #2 below –

IMPORTANT: For central KY salamander project (Ronnie, Cierla, and Trevor) – Elute once with 200 µl and then a second time with 100 µl.

Store DNA in carefully 1.5 ml tube at 4oC after extraction